## PIC Dependencies
| Powering Subsectors |  | DFB name | PIC |  |  |  |  | CRYO | [5 empty] | ETHERNET | POWERING DISTRIBUTION |  | PIC-UPS LINK |  |  |  |  | PIC-AUG LINK |  |  |  |  | PIC-BIC LINK |  |  |  | PIC-REMOTE_RESET
| Number | Purpose |  | Name | Location | PLC name | IP/hostname | Rack/Slot | Name (hostname) | Location | Base Memory | Bit offset | Rack/Slot | CR (HEX) | Routername | PLC | Patch Panels | Cable No. | C_PF1 | C_LOC_TWO1 | C_PF2 | C_LOC_TWO2 | Cable No. | C_PF1 | C_LOC_TWO1 | C_PF2 | C_LOC_TWO2 | CIBU Name 1 | CIBU Name 2 | CIBU Location | BIC Name | Source rack | Nb of cables | Destination rack | Reset system | Time | Out | No Cable
DBx.DBW0
Sector 1-2 | 1 | Inner triplet in R1 | DFBXB.3R1 | CIPCX.R1 | UJ16 | CFP-UJ16-CIPXR1 |  | 0/2 | CFP-SHC18-LSS12 | SHC18 | 65 | 0 | 0/3 | A1 |  | UJ16 - POWERING & AU | UJ16 - POWERING & AU | 1119105 | EBS1/15 | US15 | CYCIP01=UJ16 | UJ16 | 1119104 | EYU01/15 | US150 | CYCIP01=UJ16 | UJ16 |  |  |  |  | US15 CYFRE01 | 1 | UJ16 CYCIP01 | CFP-UJ16-CIPXR1 | 5 | 4 | 1115431
| 2 | Matching section in R1 | DFBLB.RR17 | CIPCL.R1 | RR17 | CFP-UJ16-CIPLR1 |  | 0/2 | CFP-SHC18-LSS12 | SHC18 | 65 | 1 | 0/3 | A2 |  | UJ16 - POWERING & AU | RR17 - POWERING & AU | [14 empty] | US15 CYFRE01 | 1 | UJ16 CYCIP01 | CFP-UJ16-CIPLR1 | 5 | 5 | 1115432
| 3 | Arc 1-2 cryostat (right side) | DFBAB.7R1 | CIPCA.R1 | RR17 | CFP-UJ16-CIPAR1 |  | 0/2 | CFP-SHC18-ARC12 | SHC18 | 65 | 0 | 0/3 | A1 |  | UJ16 - POWERING & AU | RR17 - POWERING & AU | [10 empty] | CIBU.01RR17 | CIBU.02RR17 | RR17 | CIB.US15.R1 | US15 CYFRE01 | 1 | UJ16 CYCIP01 | CFP-UJ16-CIPAR1 | 5 | 6 | 1115433
|  | Arc 1-2 cryostat (left side) | DFBAC.7L2 + DFBAC.6L2 | CIPCA.L2 | UA23 | CFP-UA23-CIPAL2 |  | 0/2 | CFP-SHC18-ARC12 | SHC18 | 65 | 1 | 0/3 | A2 | T2275-R-RCA86-1-RT6 | UA23 - POWERING & AU | UA23 - POWERING & AU | [10 empty] | CIBU.01UA23 | CIBU.02UA23 | UA23 | CIB.UA23.L2 | [6 empty] | 1213312
| 4 | Matching sections in L2 | DFBMC.5L2 + DFBMA.4L2 | CIPCM.L2 | UA23 | CFP-UA23-CIPML2 |  | 0/2 | CFP-SHC18-LSS12 | SHC18 | 65 | 2 | 0/3 | A3 | T2275-R-RCA86-1-RT6 | UA23 - POWERING & AU | UA23 - POWERING & AU | 1214143 | EBS1/23 | UA23 | CYCIP02=UA23 | UA23 | [15 empty] | 1217460
| 5 | Inner triplet in L2 | DFBXC.3L2 | CIPCX.L2 | UA23 | CFP-UA23-CIPXL2 |  | 0/2 | CFP-SHC18-LSS12 | SHC18 | 65 | 3 | 0/3 | A4 | T2275-R-RCA86-1-RT6 | UA23 - POWERING & AU | UA23 - POWERING & AU | [20 empty] | 1213311
Sector 2-3 | 6 | Inner triplet in R2 | DFBXD.3R2 | CIPCX.R2 | UA27 | CFP-UA27-CIPXR2 |  | 0/2 | CFP-SHC2-LSS23 | SHC2 | 65 | 0 | 0/3 | A1 | T2275-R-RCA86-1-RT6 | UA27 - POWERING & AU | UA27 - POWERING & AU | 1214136 | EBS1/25 | UW251 | CYCIP01=UA27 | UA27 | 1214135 | EYU01/25 | UW251 | CYCIP01=UA27 | UA27 | [10 empty] | 1213316
| 7 | Matching sections in R2 | DFBMB.4R2 + DFBMC.5R2 | CIPCM.R2 | UA27 | CFP-UA27-CIPMR2 |  | 0/2 | CFP-SHC2-LSS23 | SHC2 | 65 | 1 | 0/3 | A2 | T2275-R-RCA86-1-RT6 | UA27 - POWERING & AU | UA27 - POWERING & AU | 1214139 | EBS1/27 | UA27 | CYCIP02=UA27 | UA27 | [15 empty] | 1213317
| 8 | Arc 2-3 cryostat (right side) | DFBAD.6R2 + DFBAD.7R2 | CIPCA.R2 | UA27 | CFP-UA27-CIPAR2 |  | 0/2 | CFP-SHC2-ARC23 | SHC2 | 65 | 0 | 0/3 | A1 | T2275-R-RCA86-1-RT6 | UA27 - POWERING & AU | UA27 - POWERING & AU | [10 empty] | CIBU.01UA27 | CIBU.02UA27 | UA27 | CIB.UA27.R2 | [6 empty] | 1213318
|  | Arc 2-3 cryostat (left side) + Match. section | DFBAE.7L3 + DFBMD.6L3 | CIPCA.L3 | UJ33 | CFP-UJ33-CIPAL3 |  | 0/2 | CFP-SHC2-ARC23* | SHC2 | 65 | 1 | 0/3 | A2 | T2375-R-RCA86-1-BT6 | UJ33 - POWERING & AU | UJ33 - POWERING & AU | [10 empty] | CIBU.01UJ33 | CIBU.02UJ33 | UJ33 | CIB.UJ33.U3 | [6 empty] | 1306947
Sect. 3-4 | 9 | Arc 3-4 cryostat (right side) + Match. section | DFBAF.7R3 + DFBMD.6R3 + DFBLC.UJ33 | CIPCA.R3 | UJ33 | CFP-UJ33-CIPAR3 |  | 0/2 | CFP-SHC4-ARC34* | SHC4 | 65 | 0 | 0/3 | A1 | T2375-R-RCA86-1-BT6 | UJ33 - POWERING & AU | UJ33 - POWERING & AU | 1306991 | EBS1/33 | UJ33 | CYCIP02=UJ33 | UJ33 | 1306990 | EYU01/33 | UJ33 | CYCIP02=UJ33 | UJ33 | CIBU.03UJ33 | CIBU.04UJ33 | UJ33 | CIB.UJ33.U3 | [6 empty] | 1306948
|  | Arc 3-4 cryostat (left side) | DFBAG.7L4 | CIPCA.L4 | UA43 | CFP-UA43-CIPAL4 |  | 0/2 | CFP-SHC4-ARC34 | SHC4 | 65 | 1 | 0/3 | A2 | T2475-R-RCA86-1-BT7 | UA43 - POWERING & AU | UA43 - POWERING & AU | 1415946 | EOX01/43 | UA43 | CYCIP02=UA43 | UA43 | [5 empty] | CIBU.01UA43 | CIBU.02UA43 | UA43 | CIB.UA43.L4 | [6 empty] | 1414383
| 10 | Matching sections in L4 | DFBMG.6L4 + DFBMF.5L4 + DFBME.3L4 | CIPCM.L4 | UA43 | CFP-UA43-CIPML4 |  | 0/2 | CFP-SHC4-LSS34 | SHC4 | 65 | 0 | 0/3 | A1 | T2475-R-RCA86-1-BT7 | UA43 - POWERING & AU | UA43 - POWERING & AU | [20 empty] | 1414382
Sector 4-5 | 11 | Matching sections in R4 | DFBMK.3R4 + DFBML.5R4 + DFBMG.6R4 | CIPCM.R4 | UA47 | CFP-UA47-CIPMR4 |  | 0/2 | CFP-SHC4-LSS45 | SHC4 | 65 | 0 | 0/3 | A1 | T2475-R-RCA86-1-BT7 | UA47 - POWERING & AU | UA47 - POWERING & AU | 1415941 | ESS12/45 | US451 | CYCIP01=UA47 | UA47 | 1415940 | EYU01/45 | US450 | CYCIP01=UA47 | UA47 | [10 empty] | 1414380
| 12 | Arc 4-5 cryostat (right side) | DFBAH.7R4 | CIPCA.R4 | UA47 | CFP-UA47-CIPAR4 |  | 0/2 | CFP-SHC4-ARC45 | SHC4 | 65 | 0 | 0/3 | A1 | T2475-R-RCA86-1-BT7 | UA47 - POWERING & AU | UA47 - POWERING & AU | 1415943 | EBS11/47 | UA47 | CYCIP02=UA47 | UA47 | [5 empty] | CIBU.01UA47 | CIBU.02UA47 | UA47 | CIB.UA47.R4 | [6 empty] | 1414381
|  | Arc 4-5 cryostat (left side) | DFBAI.7L5 | CIPCA.L5 | RR53 | CFP-USC55-CIPAL5 |  | 0/2 | CFP-SHC4-ARC45 | SHC4 | 65 | 1 | 0/3 | A2 | T2575-R-RCA86-1-RT9 | USC55 - POWERING & AU | RR53 - POWERING & AU | [10 empty] | CIBU.01RR53 | CIBU.02RR53 | RR53 | CIB.USC55.L5 | UJ56 CYFRE01 | 1 | USC55 CYCIP01 | CFP-USC55-CIPAL5 | 5 | 4 | 1508971
| 13 | Matching section in L5 | DFBLD.RR53 | CIPCL.L5 | RR53 | CFP-USC55-CIPLL5 |  | 0/2 | CFP-SHC4-LSS45 | SHC4 | 65 | 1 | 0/3 | A2 | T2575-R-RCA86-1-BT8 | USC55 - POWERING & AU | RR53 - POWERING & AU | [14 empty] | UJ56 CYFRE01 | 1 | USC55 CYCIP01 | CFP-USC55-CIPLL5 | 5 | 5 | 1508972
| 14 | Inner triplet in L5 | DFBXE.3L5 | CIPCX.L5 | USC55 | CFP-USC55-CIPXL5 |  | 0/2 | CFP-SHC4-LSS45 | SHC4 | 65 | 2 | 0/3 | A3 | T2575-R-RCA86-1-RT9 | USC55 - POWERING & AU | USC55 - POWERING & AU | [14 empty] | UJ56 CYFRE01 | 1 | USC55 CYCIP01 | CFP-USC55-CIPXL5 | 5 | 6 | 1508973
Sector 5-6 | 15 | Inner triplet in R5 | DFBXF.3R5 | CIPCX.R5 | UJ56 | CFP-UJ56-CIPXR5 |  | 0/2 | CFP-SHC6-LSS56 | SHC6 | 65 | 0 | 0/3 | A1 |  | UJ56 - POWERING & AU | UJ56 - POWERING & AU | 1510315 | EBS1/56 | UJ56-0 | CYCIP01=UJ56 | UJ56 | 1510317 | EYU01/56 | UJ56 | CYCIP01=UJ56 | UJ56 |  |  |  |  | UJ56 CYFRE01 | 1 | UJ56 CYCIP01 | CFP-UJ561-CIPXR5 | 5 | 7 | 1508977
| 16 | Matching section in R5 | DFBLE.RR57 | CIPCL.R5 | RR57 | CFP-UJ56-CIPLR5 |  | 0/2 | CFP-SHC6-LSS56 | SHC6 | 65 | 1 | 0/3 | A2 |  | UJ56 - POWERING & AU | RR57 - POWERING & AU | [14 empty] | UJ56 CYFRE01 | 1 | USC55 CYCIP02 | CFP-UJ561-CIPLR5 | 5 | 9 | 1518226
| 17 | Arc 5-6 cryostat (right side) | DFBAJ.7R5 | CIPCA.R5 | RR57 | CFP-UJ56-CIPAR5 |  | 0/2 | CFP-SHC6-ARC56 | SHC6 | 65 | 0 | 0/3 | A1 |  | UJ56 - POWERING & AU | RR57 - POWERING & AU | [10 empty] | CIBU.01RR57 | CIBU.02RR57 | RR57 | CIB.UJ56.R5 | UJ56 CYFRE01 | 1 | USC55 CYCIP02 | CFP-UJ561-CIPAR5 | 5 | 8 | 1518227
|  | Arc 5-6 cryostat (left side) | DFBAK.5L6 | CIPCA.L6 | UA63 | CFP-UA63-CIPAL6 |  | 0/2 | CFP-SHC6-ARC56 | SHC6 | 65 | 1 | 0/3 | A2 | T2675-R-RCA86-1-RT10 | UA63 - POWERING & AU | UA63 - POWERING & AU | 1615163 | EBS1/63 | UA63 | CYCIP02=UA63 | UA63 | [5 empty] | CIBU.01UA63 | CIBU.02UA63 | UA63 | CIB.UA63.L6 | [6 empty] | 1614431
| 18 | Matching sections in L6 | DFBMG.5L6 + DFBMG.4L6 | CIPCM.L6 | UA63 | CFP-UA63-CIPML6 |  | 0/2 | CFP-SHC6-LSS56 | SHC6 | 65 | 2 | 0/3 | A3 | T2675-R-RCA86-1-RT10 | UA63 - POWERING & AU | UA63 - POWERING & AU | [20 empty] | 1614430
Sect. 6-7 | 19 | Matching sections in R6 | DFBMG.4R6 + DFBMG.5R6 | CIPCM.R6 | UA67 | CFP-UA67-CIPMR6 |  | 0/2 | CFP-SHC6-LSS67 | SHC6 | 65 | 0 | 0/3 | A1 | T2675-R-RCA86-1-RT10 | UA67 - POWERING & AU | UA67 - POWERING & AU | 1615159 | EBS1/65 | US65 | CYCIP01=UA67 | UA67 | 1615158 | EYU01/65 | US650 | CYCIP01=UA67 | UA67 | [10 empty] | 1614434
| 20 | Arc 6-7 cryostat (right side) | DFBAL.5R6 | CIPCA.R6 | UA67 | CFP-UA67-CIPAR6 |  | 0/2 | CFP-SHC6-ARC67 | SHC6 | 65 | 0 | 0/3 | A1 | T2675-R-RCA86-1-RT10 | UA67 - POWERING & AU | UA67 - POWERING & AU | 1615161 | EBS1/67 | UA67 | CYCIP02=UA67 | UA67 | [5 empty] | CIBU.01UA67 | CIBU.02UA67 | UA67 | CIB.UA67.R6 | [6 empty] | 1614435
|  | Arc 6-7 cryostat (L) + Match. section | DFBAM.7L7 + DFBMH.6L7 | CIPCA.L7 | RR73 | CFP-TZ76-CIPAL7 |  | 0/2 | CFP-SHC6-ARC67* | SHC6 | 65 | 0 | 0/3 | A2 |  | RR73 - POWERING & AU | RR73 - POWERING & AU | [10 empty] | CIBU.01RR73 | CIBU.02RR73 | RR73 | CIB.TZ76.U7 | [6 empty] | 1711843
Sector 7-8 | 21 | Arc 7-8 cryostat (R) +Match. section | DFBAN.7R7 + DFBMH.6R7 | CIPCA.R7 | RR73 | CFP-TZ76-CIPAR7 |  | 0/2 | CFP-SHC8-ARC78* | SHC8 | 65 | 0 | 0/3 | A1 | T2775-R-RCA86-1-BT10 | RR73 - POWERING & AU | RR73 - POWERING & AU | 1706741 | EBS1/76 | UJ760 | CYCIP01=RR77 | RR77 | 1706740 | EYU01/76 | UJ76 | CYCIP01=RR77 | RR77 | CIBU.01RR77 | CIBU.02RR77 | RR77 | CIB.TZ76.U7 | [6 empty] | 1711844
|  | Arc 7-8 cryostat (left side) | DFBAO.6L8 + DFBAO.7L8 | CIPCA.L8 | UA83 | CFP-UA83-CIPAL8 |  | 0/2 | CFP-SHC8-ARC78 | SHC8 | 65 | 1 | 0/3 | A2 | T2875-R-RCA86-1-BT11 | UA83 - POWERING & AU | UA83 - POWERING & AU | [10 empty] | CIBU.01UA83 | CIBU.02UA83 | UA83 | CIB.UA83.L8 | [6 empty] | 1813903
| 22 | Matching section in L8 | DFBMA.4L8 + DFBMC.5L8 | CIPCM.L8 | UA83 | CFP-UA83-CIPML8 |  | 0/2 | CFP-SHC8-LSS78 | SHC8 | 65 | 0 | 0/3 | A1 | T2875-R-RCA86-1-RT12 | UA83 - POWERING & AU | UA83 - POWERING & AU | 1818452 | EBS11/83 | UA83 | CYCIP02=UA83 | UA83 | [15 empty] | 1813901
| 23 | Inner triplet in L8 | DFBXG.3L8 | CIPCX.L8 | UA83 | CFP-UA83-CIPXL8 |  | 0/2 | CFP-SHC8-LSS78 | SHC8 | 65 | 1 | 0/3 | A2 | T2875-R-RCA86-1-RT12 | UA83 - POWERING & AU | UA83 - POWERING & AU | [20 empty] | 1813900
Sector 8-1 | 24 | Inner triplet in R8 | DFBXH.3R8 | CIPCX.R8 | UA87 | CFP-UA87-CIPXR8 |  | 0/2 | CFP-SHC8-LSS81 | SHC8 | 65 | 0 | 0/3 | A1 | T2875-R-RCA86-1-BT11 | UA87 - POWERING & AU | UA87 - POWERING & AU | 1818445 | EOX01/85 | US85 | CYCIP01=UA87 | UA87 | 1818444 | EYU01/85 | US850 | CYCIP01=UA87 | UA87 | [10 empty] | 1813904
| 25 | Matching sections in R8 | DFBMB.4R8 + DFBMI.5R8 | CIPCM.R8 | UA87 | CFP-UA87-CIPMR8 |  | 0/2 | CFP-SHC8-LSS81 | SHC8 | 65 | 1 | 0/3 | A2 | T2875-R-RCA86-1-RT12 | UA87 - POWERING & AU | UA87 - POWERING & AU | 1818448 | EOX01/87 | UA87 | CYCIP02=UA87 | UA87 | [15 empty] | 1813905
| 26 | Arc 8-1 cryostat (right side) | DFBAP.7R8 + DFBMJ.6R8 | CIPCA.R8 | UA87 | CFP-UA87-CIPAR8 |  | 0/2 | CFP-SHC8-ARC81 | SHC8 | 65 | 0 | 0/3 | A1 | T2875-R-RCA86-1-BT11 | UA87 - POWERING & AU | UA87 - POWERING & AU | [10 empty] | CIBU.01UA87 | CIBU.02UA87 | UA87 | CIB.UA87.R8 | [6 empty] | 1813906
|  | Arc 8-1 cryostat (left side) | DFBAA.7L1 | CIPCA.L1 | RR13 | CFP-UJ14-CIPAL1 |  | 0/2 | CFP-SHC8-ARC81 | SHC8 | 65 | 1 | 0/3 | A2 |  | UJ14 - POWERING & AU | RR13 - POWERING & AU | [10 empty] | CIBU.01RR13 | CIBU.02RR13 | RR13 | CIB.US15.L1 | US15 CYFRE01 | 1 | UJ14 CYCIP01 | CFP-UJ14-CIPAL1 | 5 | 8 | 1110834
| 27 | Matching section in L1 | DFBLA.RR13 | CIPCL.L1 | RR13 | CFP-UJ14-CIPLL1 |  | 0/2 | CFP-SHC8-LSS81 | SHC8 | 65 | 2 | 0/3 | A3 |  | UJ14 - POWERING & AU | RR13 - POWERING & AU | [14 empty] | US15 CYFRE01 | 1 | UJ14 CYCIP01 | CFP-UJ14-CIPLL1 | 5 | 7 | 1110833
| 28 | Inner triplet in L1 | DFBXA.3L1 | CIPCX.L1 | UJ14 | CFP-UJ14-CIPXL1 |  | 0/2 | CFP-SHC8-LSS81 | SHC8 | 65 | 3 | 0/3 | A4 |  | UJ14 - POWERING & AU | UJ14 - POWERING & AU | [14 empty] | US15 CYFRE01 | 1 | UJ14 CYCIP01 | CFP-UJ14-CIPXL1 | 5 | 9 | 1110835
* Need information from other PLC to complete CRYO_OK signal
CRYO Configuration
DB | 65
Rack/Slot | 0/3